## Slide 1: Management of Surgical Smoke Tool Kit
Pretest

## Slide 2: Teaching Tips for Instructors
Note: This pretest is an optional activity.
Instructors can present a Management of Surgical Smoke educational activity by using the content in the five slide decks available in this tool kit.
One way to use the pretest is to administer the pretest to the learners before presenting the content of the five slide decks.
Instructors should present the content in the slide decks in order. Start with Part I, then Part 2, Part 3, Part 4, and Part 5.
Review the answers to the pretest with your learners after teaching the content in the five slide decks.

## Slide 3: Question 1
Please answer the following TRUE or FALSE:
Exposure to surgical smoke is hazardous to surgical patients and health care providers.

## Slide 4: Question 2
Please answer the following TRUE or FALSE:
The Occupational Safety and Health Administration (OSHA) has specific standards that address surgical smoke evacuation.

## Slide 5: Question 3
Please answer the following TRUE or FALSE:
The airflow rate of a facility’s wall suction is comparable to a smoke evacuator and can generally suction at an airflow rate of 25 to 50 cubic feet per minute.

## Slide 6: Question 4
Please answer the following TRUE or FALSE:
Electrosurgical devices produce the same type of airborne contaminants as lasers.

## Slide 7: Question 5
Please answer the following TRUE or FALSE:
Aerosolized particulate matter in surgical smoke can contain bacteria, blood, and potential carcinogens.

## Slide 8: Question 6
The three main hazards associated with surgical smoke include:
  a. noncompliance of perioperative team members with recommended smoke evacuation practices, inhalation of the particulate matter, and the amount of surgical smoke produced by the energy device.
  b. the odor, the size of the particulate matter, and the viability of the particulate matter.
  c. unavailable smoke evacuation equipment, the amount of surgical smoke produced by the energy device, and the viability of the particulate matter.

## Slide 9: Question 7
Which of the following statements is true?
  A procedure mask will protect the health care provider from being exposed to all of the particulate matter in surgical smoke.
  The particulate matter in surgical smoke can be larger or smaller than 1 micrometer.
  No studies have been able to effectively determine the sizes of the particulate matter in surgical smoke.

## Slide 10: Question 8
What is the first line of protection from surgical smoke?
  High-filtration surgical mask
  Smoke evacuation
  N95 or higher respirator

## Slide 11: Question 9
After completing a procedure, all smoke evacuation tubing and filters must be
  considered infectious waste.
  disposed of following standard precautions.
  replaced on a regular basis and by following the written manufacturer’s instructions for use.
  All of the above

## Slide 12: Question 10
A patient is scheduled for “bronchoscopy, a biopsy to rule out Mycobacterium tuberculosis and a right thoracotomy.” In addition to planning to use a smoke evacuator during the surgery, the perioperative RN should instruct all team members participating in the procedure to wear a
  fit-tested surgical N95 filtering face piece respirator.
  high-filtration mask.
  high-filtration mask or a fit-tested surgical N95 filtering face piece respirator.
  procedure mask.

## Slide 13: Answers
Question | Answer
1 | true
2 | false
3 | false
4 | true
5 | true
6 | b
7 | b
8 | b
9 | d
10 | a